## IP_List_Main_BMS
Aegon, Edinburgh |  |  | DG/subnet
PE197 |  |  | 192.168.1.254/255.255.255.0
Device IP Addressing - BMS
Revision v1 | 2020-06-17
IP Address | Subnet Mask | Default Gateway | Device Name | Trend Lan | Trend Outstation | Bacnet Instance | Device Location | Device Manufacturer | Device Type | MAC Address | Complete? Yes/No | Router Ports Opened | Notes
192.168.1.1 | 255.255.255.0 | 192.168.1.254 | SCOTEQBMSA | n/a | n/a | n/a | ?? | PC |  |  | YES |  | TO BE IDENTIFIED
192.168.1.2 | 255.255.255.0 | 192.168.1.254 | IQVision BMS PC |  |  |  | G08 UPS Room | HP Desktop |  |  | YES |  | Installed 09-06-20
192.168.1.3 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | PC ?? |  |  | YES |  | TO BE IDENTIFIED
192.168.1.4 | 255.255.255.0 | 192.168.1.254 | SCOTEQBMSG | n/a | n/a | n/a | ?? | PC |  |  | YES |  | TO BE IDENTIFIED
192.168.1.5 | 255.255.255.0 | 192.168.1.254
192.168.1.6 | 255.255.255.0 | 192.168.1.254 | [8 empty] | YES
192.168.1.7 | 255.255.255.0 | 192.168.1.254 | [8 empty] | YES
192.168.1.8 | 255.255.255.0 | 192.168.1.254 | [8 empty] | YES
192.168.1.9 | 255.255.255.0 | 192.168.1.254 | [8 empty] | YES
192.168.1.10 | 255.255.255.0 | 192.168.1.254 | AegonEccJace01 | n/a | n/a | 110 |  | Forrest Rock | JACE 8000 |  | YES |  | ECC Installed 17-06-20
192.168.1.11 | 255.255.255.0 | 192.168.1.254 | MCP3/T4 TONN Controller | n/a | n/a | 1049 | T4 Plantroom | TREND | TONN8 |  | YES |  | Linked to TOPS
192.168.1.12 | 255.255.255.0 | 192.168.1.254 | MCP3 | 20 | 20 |  | T4 Plantroom | TREND | IQ3 |  | YES
192.168.1.13 | 255.255.255.0 | 192.168.1.254 | [8 empty] | YES
192.168.1.14 | 255.255.255.0 | 192.168.1.254 | [8 empty] | YES
192.168.1.15 | 255.255.255.0 | 192.168.1.254 | [8 empty] | YES
192.168.1.16 | 255.255.255.0 | 192.168.1.254 | [8 empty] | YES
192.168.1.17 | 255.255.255.0 | 192.168.1.254 | Outstation 25 | 21 | 25 |  |  | TREND | IQ3
192.168.1.18 | 255.255.255.0 | 192.168.1.254 | Engineer-PC (963 PC FM Room) | n/a | n/a | n/a | FES FM Room | HP | Windows 7 |  | YES |  | TOPS Installed
192.168.1.19 | 255.255.255.0 | 192.168.1.254 | Ahu1_Flr0_1_Vavs 4NC | 31 | 9 |  | 1st Flr NW1 Riser | TREND | IQ4NC |  | YES
192.168.1.20 | 255.255.255.0 | 192.168.1.254 | Ahu1_Flr2_3_Vavs 4NC | 32 | 9 |  | 2nd Flr NW2 Riser | TREND | IQ4NC |  | YES
192.168.1.21 | 255.255.255.0 | 192.168.1.254 | Ahu2_Flr1_2_Vavs 4NC | 33 | 9 |  | 1st Flr NE1 Riser | TREND | IQ4NC |  | YES
192.168.1.22 | 255.255.255.0 | 192.168.1.254 | Ahu3_Flr1_2_Vavs 4NC | 34 | 9 |  | 1st Flr NE1 Riser | TREND | IQ4NC |  | YES
192.168.1.23 | 255.255.255.0 | 192.168.1.254 | Ahu4_Flr1_2_Vavs 4NC | 34 | 9 |  | 1st Flr SE1 Riser | TREND | IQ4NC |  | YES
192.168.1.24 | 255.255.255.0 | 192.168.1.254 | Ahu5_FlrG_1_Vavs 4NC | 34 | 9 |  | 1st Flr SE1 Riser | TREND | IQ4NC |  | YES
192.168.1.25 | 255.255.255.0 | 192.168.1.254 | Ahu5_Flr2_Vavs 4NC | 34 | 9 |  | 2nd Flr SE1 Riser | TREND | IQ4NC |  | YES
192.168.1.26 | 255.255.255.0 | 192.168.1.254 | [8 empty] | YES
192.168.1.27 | 255.255.255.0 | 192.168.1.254 | [8 empty] | YES
192.168.1.28 | 255.255.255.0 | 192.168.1.254 | Ahu6_Flr2 _3_Vav_4NC | 38 | 9 |  | 1st Flr SW1 Riser | TREND | IQ4NC |  | YES
192.168.1.29 | 255.255.255.0 | 192.168.1.254 | Ahu6_Flr2_Vav_4NC | 39 | 9 |  | 2nd Flr SW2 Riser | TREND | IQ4NC |  | YES
192.168.1.30 | 255.255.255.0 | 192.168.1.254 | Ground_Flr _Fcu_4NC | 40 | 9 |  | NWG Riser | TREND | IQ4NC |  | YES
192.168.1.31 | 255.255.255.0 | 192.168.1.254 | [8 empty] | YES
192.168.1.32 | 255.255.255.0 | 192.168.1.254 | MCP11 G122 | 22 | 32 |  |  | TREND | IQ3 |  | YES
192.168.1.33 | 255.255.255.0 | 192.168.1.254 | [8 empty] | YES
192.168.1.34 | 255.255.255.0 | 192.168.1.254 | [8 empty] | YES
192.168.1.35 | 255.255.255.0 | 192.168.1.254 | MCP12 AHU14-16 | 20 | 34 |  |  | TREND | IQ3 |  | YES
192.168.1.36 | 255.255.255.0 | 192.168.1.254 | MCP12 Metering | 20 | 33 |  |  | TREND | IQ4 |  | YES
192.168.1.37 | 255.255.255.0 | 192.168.1.254 | MCP4 AHU3 | 20 | 21 |  |  | TREND | IQ3
192.168.1.38 | 255.255.255.0 | 192.168.1.254 | MCP6 AHU4 | 20 | 24 |  |  | TREND | IQ3 |  | YES
192.168.1.39 | 255.255.255.0 | 192.168.1.254 | MCP10 AHUs | 20 | 30 |  |  | TREND | IQ3
192.168.1.40 | 255.255.255.0 | 192.168.1.254 | MCP10 DHW&Vent | 20 | 31 |  |  | TREND | IQ3 |  | YES
192.168.1.41 | 255.255.255.0 | 192.168.1.254 | MCP5 Boilers | 20 | 26 |  |  | TREND | IQ3 |  | YES
192.168.1.42 | 255.255.255.0 | 192.168.1.254 | MCP14 Energy Centre 1 | 20 | 36 |  |  | TREND | IQ3 |  | YES
192.168.1.43 | 255.255.255.0 | 192.168.1.254 | MCP14 Energy Centre 2 | 20 | 37 |  |  | TREND | IQ3 |  | YES
192.168.1.44 | 255.255.255.0 | 192.168.1.254 | MCP8 AHU5&CHW Pumps | 20 | 27 |  |  | TREND | IQ3 |  | YES | 9950
192.168.1.45 | 255.255.255.0 | 192.168.1.254 | MCP1 AHU1&DHW | 20 | 22 |  |  | TREND | IQ3 |  | YES
192.168.1.46 | 255.255.255.0 | 192.168.1.254 | MCP9 SCHW & DHW & AHU6 | 20 | 28 |  |  | TREND | IQ3 |  | YES
192.168.1.47 | 255.255.255.0 | 192.168.1.254 | MCP2 AHU2&CHW Pumps | 20 | 23 |  |  | TREND | IQ3 |  | YES
192.168.1.48 | 255.255.255.0 | 192.168.1.254 | MCP13 AHUs | 20 | 32 |  |  | TREND | IQ3 |  | YES
192.168.1.49 | 255.255.255.0 | 192.168.1.254 | MCP13A CHW Pumps | 20 | 35 |  |  | TREND | IQ3 |  | YES
192.168.1.50 | 255.255.255.0 | 192.168.1.254 | Kames Reception FCU | 41 | 48 |  | Kames Reception |  |  |  | YES
192.168.1.51 | 255.255.255.0 | 192.168.1.254 | Kames Capital Controller | 22 | 33 |  |  | TREND | IQ3 |  | YES
192.168.1.52 | 255.255.255.0 | 192.168.1.254 | DCMCP1 Energy Centre | 22 | 20 |  |  | TREND | IQ3 |  | YES
192.168.1.53 | 255.255.255.0 | 192.168.1.254 | WAC1 & 2 DH1 | 22 | 28 |  |  | TREND | IQ3 |  | YES
192.168.1.54 | 255.255.255.0 | 192.168.1.254 | WAC 7 DH2 | 22 | 21 |  |  | TREND | IQ3 |  | YES
192.168.1.55 | 255.255.255.0 | 192.168.1.254 | WAC8 | 22 | 22 |  |  | TREND | IQ3
192.168.1.56 | 255.255.255.0 | 192.168.1.254 | WAC3 DH1 | 22 | 23 |  |  | TREND | IQ3 |  | YES
192.168.1.57 | 255.255.255.0 | 192.168.1.254 | WAC4 DH1 | 22 | 24 |  |  | TREND | IQ3 |  | YES
192.168.1.58 | 255.255.255.0 | 192.168.1.254 | WAC5 DH2 | 22 | 25 |  |  | TREND | IQ3 |  | YES
192.168.1.59 | 255.255.255.0 | 192.168.1.254 | WAC6 DH2 | 22 | 26 |  |  | TREND | IQ3 |  | YES
192.168.1.60 | 255.255.255.0 | 192.168.1.254 | SCV7 Stair Vent7 | 22 | 27 |  |  | TREND | IQ3 |  | YES
192.168.1.61 | 255.255.255.0 | 192.168.1.254 | SCV9 Stair Vent9 | 22 | 29 |  |  | TREND | IQ3
192.168.1.62 | 255.255.255.0 | 192.168.1.254 | SCV11 Stair Vent11 | 22 | 30 |  |  | TREND | IQ3 |  | YES
192.168.1.63 | 255.255.255.0 | 192.168.1.254 | SCV12 Stair 12 Vent | 22 | 31 | [5 empty] | YES
192.168.1.64 | 255.255.255.0 | 192.168.1.254
192.168.1.65 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | Siemens | Simatic NET |  |  |  | user/pass required to access. No longer Online - 08-01-21
192.168.1.66 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | Siemens | Simatic NET |  |  |  | user/pass required to access. No longer Online - 08-01-21
192.168.1.67 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | Siemens | Simatic NET |  |  |  | user/pass required to access. No longer Online - 08-01-21
192.168.1.68 | 255.255.255.0 | 192.168.1.254 | LGATE-950-SC | n/a | n/a | 17000 |  | LOYTEC electronics GmbH | LGATE-950 |  | YES
192.168.1.69 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | Siemens | Simatic NET |  |  |  | user/pass required to access. No longer Online - 08-01-21
192.168.1.70 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | Siemens | Simatic NET |  |  |  | user/pass required to access. No longer Online - 08-01-21
192.168.1.71 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | Siemens | Simatic NET |  |  |  | user/pass required to access. No longer Online - 08-01-21
192.168.1.72 | 255.255.255.0 | 192.168.1.254 | [8 empty] | YES
192.168.1.73 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | Siemens | Simatic NET |  |  |  | user/pass required to access. No longer Online - 08-01-21
192.168.1.74 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | Siemens | Simatic NET |  |  |  | user/pass required to access. No longer Online - 08-01-21
192.168.1.75 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | Siemens | Simatic NET |  |  |  | user/pass required to access. No longer Online - 08-01-21
192.168.1.76 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | Siemens | Simatic NET |  |  |  | user/pass required to access. No longer Online - 08-01-21
192.168.1.77 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | Siemens | Simatic NET |  |  |  | user/pass required to access. No longer Online - 08-01-21
192.168.1.78 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | Siemens | Simatic NET |  |  |  | user/pass required to access. No longer Online - 08-01-21
192.168.1.79 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | Siemens | Simatic NET |  |  |  | user/pass required to access. No longer Online - 08-01-21
192.168.1.80 | 255.255.255.0 | 192.168.1.254 | [8 empty] | YES
192.168.1.81 | 255.255.255.0 | 192.168.1.254 | [8 empty] | YES
192.168.1.82 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | Siemens | Simatic NET |  | YES
192.168.1.83 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | Siemens | Simatic NET |  | YES
192.168.1.84 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | Siemens | Simatic NET
192.168.1.85 | 255.255.255.0 | 192.168.1.254 | WAC Unit 19 | 41 | 29 |  | SEG-24 | TREND | IQ4E16
192.168.1.86 | 255.255.255.0 | 192.168.1.254 | WAC Unit 20 | 41 | 30 |  | SEG-24 | TREND | IQ4E16
192.168.1.87 | 255.255.255.0 | 192.168.1.254 | WAC Unit 21 | 41 | 31 |  | SEG-17 | TREND | IQ4E16
192.168.1.88 | 255.255.255.0 | 192.168.1.254 | WAC Unit 22 | 41 | 32 |  | SEG-17 | TREND | IQ4E16
192.168.1.89 | 255.255.255.0 | 192.168.1.254 | WAC Unit 9 | 41 | 19 |  | Data corr plantroom | TREND | IQ4E16
192.168.1.90 | 255.255.255.0 | 192.168.1.254 | WAC Unit 10 | 41 | 20 |  | Data corr plantroom | TREND | IQ4E16
192.168.1.91 | 255.255.255.0 | 192.168.1.254 | WAC Unit 23 | 41 | 31 |  | SEG-25 | TREND | IQ4E16
192.168.1.92 | 255.255.255.0 | 192.168.1.254 | WAC Unit 24 | 41 | 32 |  | SEG-17 | TREND | IQ4E16
192.168.1.93 | 255.255.255.0 | 192.168.1.254 | WAC Unit 13 | 41 | 23 |  |  | TREND | IQ4E16
192.168.1.94 | 255.255.255.0 | 192.168.1.254 | WAC Unit 14 | 41 | 24 |  |  | TREND | IQ4E16
192.168.1.95 | 255.255.255.0 | 192.168.1.254 | WAC Unit 15 | 41 | 25 |  | SEG-18 | TREND | IQ4E16
192.168.1.96 | 255.255.255.0 | 192.168.1.254 | WAC Unit 16 | 41 | 26 |  | SEG-18 | TREND | IQ4E16
192.168.1.97 | 255.255.255.0 | 192.168.1.254 | WAC Unit 17 | 41 | 27 |  | Data corr plantroom | TREND | IQ4E16
192.168.1.98 | 255.255.255.0 | 192.168.1.254 | WAC Unit 18 | 41 | 28 |  | Data corr plantroom | TREND | IQ4E16
192.168.1.99 | 255.255.255.0 | 192.168.1.254 | SEMCP02MCB02 |  |  |  | MCP5/T4 | Siemens APOGEE |  |  | YES |  | MCP5/T4 (serves nothing).
192.168.1.100 | 255.255.255.0 | 192.168.1.254
192.168.1.101 | 255.255.255.0 | 192.168.1.254 | SEMCP01LMEC01 | n/a | n/a | 7101 | MCP1/T1 | Siemens APOGEE | Bacnet Field Panel |  |  |  | MCP1/T1 (serves chw north sec pumps). Switched OFF
192.168.1.102 | 255.255.255.0 | 192.168.1.254
192.168.1.103 | 255.255.255.0 | 192.168.1.254 | WAC Unit 28 | 41 | 38 |  | EG600 | TREND | IQ4E16
192.168.1.104 | 255.255.255.0 | 192.168.1.254 | WAC Unit 25 | 41 | 35 |  | EG600 | TREND | IQ4E16
192.168.1.105 | 255.255.255.0 | 192.168.1.254 | WAC Unit 26 | 41 | 36 |  | EG600 | TREND | IQ4E16
192.168.1.106 | 255.255.255.0 | 192.168.1.254 | WAC Unit 27 | 41 | 37 |  | EG600 | TREND | IQ4E16
192.168.1.107 | 255.255.255.0 | 192.168.1.254 | FCU33 | 41 | 41 |  | Data meeting room | TREND | IQ412
192.168.1.108 | 255.255.255.0 | 192.168.1.254 | FCU34 | 41 | 42 |  | Data meeting room | TREND | IQ412
192.168.1.109 | 255.255.255.0 | 192.168.1.254 | SEMCP09LMEC09 | n/a | n/a | 7109 | MCP9/T11 | Siemens APOGEE | Bacnet Field Panel |  |  |  | MCP9/T11 (serves kames area )
192.168.1.110 | 255.255.255.0 | 192.168.1.254 | AegonProdual01-BaseModule | n/a | n/a | n/a | NW2 Ahu1VavPanel | Produal | WBU |  |  |  | Wireless Sensor Receiver
192.168.1.111 | 255.255.255.0 | 192.168.1.254 | AegonProdual02-BaseModule | n/a | n/a | n/a | NW1 Ahu1VavPanel | Produal | WBU |  |  |  | Wireless Sensor Receiver
192.168.1.112 | 255.255.255.0 | 192.168.1.254 | AegonProdual03-BaseModule | n/a | n/a | n/a | SW2 Ahu6VavPanel | Produal | WBU |  |  |  | Wireless Sensor Receiver
192.168.1.113 | 255.255.255.0 | 192.168.1.254 | AegonProdual04-BaseModule | n/a | n/a | n/a | SW1 Ahu6VavPanel | Produal | WBU |  |  |  | Wireless Sensor Receiver
192.168.1.114 | 255.255.255.0 | 192.168.1.254 | AegonProdual05-BaseModule | n/a | n/a | n/a | NE1 Ahu2&3VavPanel | Produal | WBU |  |  |  | Wireless Sensor Receiver
192.168.1.115 | 255.255.255.0 | 192.168.1.254 | AegonProdual06-BaseModule | n/a | n/a | n/a | NE1 Ahu2&3VavPanel | Produal | WBU |  |  |  | Wireless Sensor Receiver
192.168.1.116 | 255.255.255.0 | 192.168.1.254 | AegonProdual07-BaseModule | n/a | n/a | n/a | SE1 Ahu4VavPanel | Produal | WBU |  |  |  | Wireless Sensor Receiver
192.168.1.117 | 255.255.255.0 | 192.168.1.254 | AegonProdual08-BaseModule | n/a | n/a | n/a | S1 Ahu5VavPanel | Produal | WBU |  |  |  | Wireless Sensor Receiver
192.168.1.118 | 255.255.255.0 | 192.168.1.254 | GymChangingRmHeating | 41 | 43 |  | Gym Riser | TREND | IQ4E16
192.168.1.119 | 255.255.255.0 | 192.168.1.254 |  | n/a | n/a | n/a |  | Siemens | Simatic NET |  |  |  | user/pass required to access
192.168.1.120 | 255.255.255.0 | 192.168.1.254 | Aegon-PC (Left hand PC on desk) | n/a | n/a | n/a | G8 UPS Room | [5 empty] | Switched OFF
192.168.1.121 | 255.255.255.0 | 192.168.1.254 | SE2NDFED09 | n/a | n/a | 7121 |  | Siemens | Bacnet Field Panel
192.168.1.122 | 255.255.255.0 | 192.168.1.254 | SE2NDFED10 | n/a | n/a | 7122 |  | Siemens | Bacnet Field Panel
192.168.1.123 | 255.255.255.0 | 192.168.1.254 | SE2NDFED11 | n/a | n/a | 7123 |  | Siemens | Bacnet Field Panel
192.168.1.124 | 255.255.255.0 | 192.168.1.254 | SE2NDFED12 | n/a | n/a | 7124 |  | Siemens | Bacnet Field Panel
192.168.1.125 | 255.255.255.0 | 192.168.1.254 | SE1STFED05 | n/a | n/a | 7125 |  | Siemens | Bacnet Field Panel
192.168.1.126 | 255.255.255.0 | 192.168.1.254 | SE1STFED06 | n/a | n/a | 7126 |  | Siemens | Bacnet Field Panel
192.168.1.127 | 255.255.255.0 | 192.168.1.254 | SE1STFED07 | n/a | n/a | 7127 |  | Siemens | Bacnet Field Panel
192.168.1.128 | 255.255.255.0 | 192.168.1.254 | SE1STFED08 | n/a | n/a | 7128 |  | Siemens | Bacnet Field Panel
192.168.1.129 | 255.255.255.0 | 192.168.1.254 | SEGRDFED01 | n/a | n/a | 7129 |  | Siemens | Bacnet Field Panel
192.168.1.130 | 255.255.255.0 | 192.168.1.254 | SEGDRFED02 | n/a | n/a | 7130 |  | Siemens | Bacnet Field Panel
192.168.1.131 | 255.255.255.0 | 192.168.1.254 | SEGNDFED03 | n/a | n/a | 7131 |  | Siemens | Bacnet Field Panel
192.168.1.132 | 255.255.255.0 | 192.168.1.254 | SEGRDFED04 | n/a | n/a | 7132 |  | Siemens | Bacnet Field Panel
192.168.1.133 | 255.255.255.0 | 192.168.1.254 | SEGRDCSHMEC01 | n/a | n/a | 7132 | Deli Area | Siemens APOGEE | Bacnet Field Panel |  | YES |  | Deli Panel (serves deli area vent)
192.168.1.134 | 255.255.255.0 | 192.168.1.254 | SEECMEC01 | n/a | n/a | 7133 | Energy Centre HV swiRm | Siemens APOGEE | Bacnet Field Panel |  | YES |  | Energy Centre (breaker status')
192.168.1.135 | 255.255.255.0 | 192.168.1.254 | SEECMEC01 | 20 | 42 |  | Energy Centre HV swiRm | Trend | IQ4E/32
192.168.1.136 | 255.255.255.0 | 192.168.1.254 | SEMCP02PXC01 | n/a | n/a | 7102 | MCP2/T3 | Siemens APOGEE | Bacnet Field Panel |  |  |  | MCP2/T3 (serves north chillers)
192.168.1.137 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | Siemens | Simatic NET |  |  |  | user/pass required to access
192.168.1.138 | 255.255.255.0 | 192.168.1.254 | ??? | [7 empty] | YES |  | TO BE IDENTIFIED
192.168.1.139 | 255.255.255.0 | 192.168.1.254 | WAC 29 | 41 | 39 | 0 | Room EG-09 | TREND | IQ4E16
192.168.1.140 | 255.255.255.0 | 192.168.1.254 | AegonProdual09-BaseModule | n/a | n/a | n/a | S1 Ahu5VavPanel2ndF | Produal | WBU |  |  |  | Wireless Sensor Receiver
192.168.1.141 | 255.255.255.0 | 192.168.1.254 | Goods In LMR & Deli Htg | 41 | 45 | 0 | Goods In Lift Motor Room | TREND | IQ4E16
192.168.1.142 | 255.255.255.0 | 192.168.1.254 | Staff Reception Heating | 41 | 46 | n/a | Staff Entrance Heating | TREND | IQ4E16
192.168.1.143 | 255.255.255.0 | 192.168.1.254 | Kames KEF & Leak Detection | 20 | 43 |  | T1 Plantroom | TREND | IQ4E16
192.168.1.144 | 255.255.255.0 | 192.168.1.254 | Deli Natural Vent CP | 41 | 47 |  | Deli Area | TREND | iQ4E/32
192.168.1.145 | 255.255.255.0 | 192.168.1.254 | ?? | ?? | ?? | ?? | ?? | ?? | ??
192.168.1.146 | 255.255.255.0 | 192.168.1.254 | FCU45 | 41 | 45 |  | Security Room | TREND | IQ412
192.168.1.147 | 255.255.255.0 | 192.168.1.254 | 4NC | 25 | 25 |  |  | TREND | IQ4 NC |  |  | 9947,9948,9949
192.168.1.148 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a | ?? | SIEMENS
192.168.1.149 | 255.255.255.0 | 192.168.1.254 | Security Room BMS PC | n/a | n/a | n/a | Security Room | TBC | PC |  |  |  | Set as DHCP. Remote Desktop to 192.168.1.18 PC (Main 963)
192.168.1.150 | 255.255.255.0 | 192.168.1.254
192.168.1.151 | 255.255.255.0 | 192.168.1.254 | User-PC (Calon Lighting PC) | n/a | n/a | n/a | G8 UPS Room | DELL | Windows 7 |  |  |  | Multiple IP addresses 1 PC
192.168.1.152 | 255.255.255.0 | 192.168.1.254 | User-PC (Calon Lighting PC) | n/a | n/a | n/a | G8 UPS Room | DELL | Windows 7 |  |  |  | Multiple IP addresses 1 PC
192.168.1.153 | 255.255.255.0 | 192.168.1.254 | User-PC (Calon Lighting PC) | n/a | n/a | n/a | G8 UPS Room | DELL | Windows 7 |  |  |  | Multiple IP addresses 1 PC
192.168.1.154 | 255.255.255.0 | 192.168.1.254 | User-PC (Calon Lighting PC) | n/a | n/a | n/a | G8 UPS Room | DELL | Windows 7 |  |  |  | Multiple IP addresses 1 PC
192.168.1.155 | 255.255.255.0 | 192.168.1.254 | User-PC (Calon Lighting PC) | n/a | n/a | n/a | G8 UPS Room | DELL | Windows 7 |  |  |  | Multiple IP addresses 1 PC
192.168.1.156 | 255.255.255.0 | 192.168.1.254 | User-PC (Calon Lighting PC) | n/a | n/a | n/a | G8 UPS Room | DELL | Windows 7 |  |  |  | Multiple IP addresses 1 PC
192.168.1.157 | 255.255.255.0 | 192.168.1.254 | User-PC (Calon Lighting PC) | n/a | n/a | n/a | G8 UPS Room | DELL | Windows 7 |  |  |  | Multiple IP addresses 1 PC
192.168.1.158 | 255.255.255.0 | 192.168.1.254 | User-PC (Calon Lighting PC) | n/a | n/a | n/a | G8 UPS Room | DELL | Windows 7 |  |  |  | Multiple IP addresses 1 PC
192.168.1.159 | 255.255.255.0 | 192.168.1.254 | User-PC (Calon Lighting PC) | n/a | n/a | n/a | G8 UPS Room | DELL | Windows 7 |  |  |  | Multiple IP addresses 1 PC
192.168.1.160 | 255.255.255.0 | 192.168.1.254 | User-PC (Calon Lighting PC) | n/a | n/a | n/a | G8 UPS Room | DELL | Windows 7 |  |  |  | Multiple IP addresses 1 PC
192.168.1.161 | 255.255.255.0 | 192.168.1.254 | User-PC (Calon Lighting PC) | n/a | n/a | n/a | G8 UPS Room | DELL | Windows 7 |  |  |  | Multiple IP addresses 1 PC
192.168.1.162 | 255.255.255.0 | 192.168.1.254 | User-PC (Calon Lighting PC) | n/a | n/a | n/a | G8 UPS Room | DELL | Windows 7 |  |  |  | Multiple IP addresses 1 PC
192.168.1.163 | 255.255.255.0 | 192.168.1.254 | User-PC (Calon Lighting PC) | n/a | n/a | n/a | G8 UPS Room | DELL | Windows 7 |  |  |  | Multiple IP addresses 1 PC
192.168.1.164 | 255.255.255.0 | 192.168.1.254 | User-PC (Calon Lighting PC) | n/a | n/a | n/a | G8 UPS Room | DELL | Windows 7 |  |  |  | Multiple IP addresses 1 PC
192.168.1.165 | 255.255.255.0 | 192.168.1.254 | User-PC (Calon Lighting PC) | n/a | n/a | n/a | G8 UPS Room | DELL | Windows 7 |  |  |  | Multiple IP addresses 1 PC
192.168.1.166 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a | ?? | SIEMENS
192.168.1.167 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a | ?? | SIEMENS
192.168.1.168 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a | ?? | SIEMENS
192.168.1.169 | 255.255.255.0 | 192.168.1.254
192.168.1.170 | 255.255.255.0 | 192.168.1.254
192.168.1.171 | 255.255.255.0 | 192.168.1.254
192.168.1.172 | 255.255.255.0 | 192.168.1.254
192.168.1.173 | 255.255.255.0 | 192.168.1.254
192.168.1.174 | 255.255.255.0 | 192.168.1.254
192.168.1.175 | 255.255.255.0 | 192.168.1.254
192.168.1.176 | 255.255.255.0 | 192.168.1.254
192.168.1.177 | 255.255.255.0 | 192.168.1.254
192.168.1.178 | 255.255.255.0 | 192.168.1.254
192.168.1.179 | 255.255.255.0 | 192.168.1.254
192.168.1.180 | 255.255.255.0 | 192.168.1.254
192.168.1.181 | 255.255.255.0 | 192.168.1.254 | L-Gate-3NW | n/a | n/a | 1001 |  | LOYTEC electronics GmbH | LGATE-900
192.168.1.182 | 255.255.255.0 | 192.168.1.254 | L-Gate-FED1 | n/a | n/a | 1002 |  | LOYTEC electronics GmbH | LGATE-900
192.168.1.183 | 255.255.255.0 | 192.168.1.254 | L-Gate-FED2 | n/a | n/a | 1003 |  | LOYTEC electronics GmbH | LGATE-900
192.168.1.184 | 255.255.255.0 | 192.168.1.254 | L-Gate-FED3 | n/a | n/a | 1004 |  | LOYTEC electronics GmbH | LGATE-900
192.168.1.185 | 255.255.255.0 | 192.168.1.254 | L-Gate-FED4 | n/a | n/a | 1005 |  | LOYTEC electronics GmbH | LGATE-900
192.168.1.186 | 255.255.255.0 | 192.168.1.254 | L-Gate-FED5 | n/a | n/a | 1006 |  | LOYTEC electronics GmbH | LGATE-900
192.168.1.187 | 255.255.255.0 | 192.168.1.254 | L-Gate-FED6 | n/a | n/a | 1007 |  | LOYTEC electronics GmbH | LGATE-900
192.168.1.188 | 255.255.255.0 | 192.168.1.254 | LGATE-900-FED | n/a | n/a |  |  | LOYTEC electronics GmbH | LGATE-900 |  | YES |  | UNCONFIGURED
192.168.1.189 | 255.255.255.0 | 192.168.1.254 | L-Gate-FED8 | n/a | n/a | 1009 |  | LOYTEC electronics GmbH | LGATE-900
192.168.1.190 | 255.255.255.0 | 192.168.1.254 | L-Gate-FED9 | n/a | n/a | 1010 |  | LOYTEC electronics GmbH | LGATE-900
192.168.1.191 | 255.255.255.0 | 192.168.1.254 | L-Gate-FED10 | n/a | n/a | 1011 |  | LOYTEC electronics GmbH | LGATE-900
192.168.1.192 | 255.255.255.0 | 192.168.1.254 | L-Gate-FED11 | n/a | n/a | 1012 |  | LOYTEC electronics GmbH | LGATE-900
192.168.1.193 | 255.255.255.0 | 192.168.1.254 | L-Gate-FED14 | n/a | n/a | 1014 |  | LOYTEC electronics GmbH | LGATE-900 |  |  |  | Not Live. NOW OFFLINE 08-02-21
192.168.1.194 | 255.255.255.0 | 192.168.1.254 | L-Gate-FED6-B | n/a | n/a | 1015 |  | LOYTEC electronics GmbH | LGATE-900
192.168.1.195 | 255.255.255.0 | 192.168.1.254 | L-Gate-FED10-B | n/a | n/a | 1016 |  | LOYTEC electronics GmbH | LGATE-900
192.168.1.196 | 255.255.255.0 | 192.168.1.254 | L-Gate-FED12 | n/a | n/a | 17800 |  | LOYTEC electronics GmbH | LGATE-950
192.168.1.197 | 255.255.255.0 | 192.168.1.254 | L-GATE-FED7 | n/a | n/a | 1018 |  | LOYTEC electronics GmbH | LGATE-950
192.168.1.198 | 255.255.255.0 | 192.168.1.254 |  | n/a | n/a |  |  | LOYTEC electronics GmbH | LGATE-950 |  |  |  | ISSUE WITH DEVICE
192.168.1.199 | 255.255.255.0 | 192.168.1.254
192.168.1.200 | 255.255.255.0 | 192.168.1.254
192.168.1.201 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | LOYTEC electronics GmbH | LIP-30ECTB
192.168.1.202 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | LOYTEC electronics GmbH | LIP-30ECTB
192.168.1.203 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | LOYTEC electronics GmbH | LIP-30ECTB
192.168.1.204 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | LOYTEC electronics GmbH | LIP-30ECTB
192.168.1.205 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | LOYTEC electronics GmbH | LIP-30ECTB
192.168.1.206 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | LOYTEC electronics GmbH | LIP-30ECTB
192.168.1.207 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | LOYTEC electronics GmbH | LIP-30ECTB
192.168.1.208 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | LOYTEC electronics GmbH | LIP-30ECTB
192.168.1.209 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | LOYTEC electronics GmbH | LIP-30ECTB
192.168.1.210 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | LOYTEC electronics GmbH | LIP-30ECTB
192.168.1.211 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | LOYTEC electronics GmbH | LIP-30ECTB
192.168.1.212 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | LOYTEC electronics GmbH | LIP-30ECTB
192.168.1.213 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | LOYTEC electronics GmbH | LIP-30ECTB
192.168.1.214 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | LOYTEC electronics GmbH | LIP-30ECTB
192.168.1.215 | 255.255.255.0 | 192.168.1.254
192.168.1.216 | 255.255.255.0 | 192.168.1.254
192.168.1.217 | 255.255.255.0 | 192.168.1.254
192.168.1.218 | 255.255.255.0 | 192.168.1.254
192.168.1.219 | 255.255.255.0 | 192.168.1.254
192.168.1.220 | 255.255.255.0 | 192.168.1.254
192.168.1.221 | 255.255.255.0 | 192.168.1.254 | ??? | [7 empty] | YES |  | TO BE IDENTIFIED. Web takes you to iss
192.168.1.222 | 255.255.255.0 | 192.168.1.254
192.168.1.223 | 255.255.255.0 | 192.168.1.254
192.168.1.224 | 255.255.255.0 | 192.168.1.254
192.168.1.225 | 255.255.255.0 | 192.168.1.254
192.168.1.226 | 255.255.255.0 | 192.168.1.254
192.168.1.227 | 255.255.255.0 | 192.168.1.254
192.168.1.228 | 255.255.255.0 | 192.168.1.254
192.168.1.229 | 255.255.255.0 | 192.168.1.254
192.168.1.230 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | Siemens | Simatic NET |  |  |  | user/pass required to access
192.168.1.231 | 255.255.255.0 | 192.168.1.254 | ?? | n/a | n/a | n/a |  | Siemens | Simatic NET |  |  |  | user/pass required to access
192.168.1.232 | 255.255.255.0 | 192.168.1.254
192.168.1.233 | 255.255.255.0 | 192.168.1.254
192.168.1.234 | 255.255.255.0 | 192.168.1.254
192.168.1.235 | 255.255.255.0 | 192.168.1.254
192.168.1.236 | 255.255.255.0 | 192.168.1.254
192.168.1.237 | 255.255.255.0 | 192.168.1.254
192.168.1.238 | 255.255.255.0 | 192.168.1.254
192.168.1.239 | 255.255.255.0 | 192.168.1.254
192.168.1.240 | 255.255.255.0 | 192.168.1.254
192.168.1.241 | 255.255.255.0 | 192.168.1.254
192.168.1.242 | 255.255.255.0 | 192.168.1.254
192.168.1.243 | 255.255.255.0 | 192.168.1.254
192.168.1.244 | 255.255.255.0 | 192.168.1.254
192.168.1.245 | 255.255.255.0 | 192.168.1.254 | LGATE-900-FED | n/a | n/a |  |  | LOYTEC electronics GmbH | LGATE-950 |  | YES |  | UNCONFIGURED
192.168.1.246 | 255.255.255.0 | 192.168.1.254
192.168.1.247 | 255.255.255.0 | 192.168.1.254
192.168.1.248 | 255.255.255.0 | 192.168.1.254
192.168.1.249 | 255.255.255.0 | 192.168.1.254
192.168.1.250 | 255.255.255.0 | 192.168.1.254
192.168.1.251 | 255.255.255.0 | 192.168.1.254
192.168.1.252 | 255.255.255.0 | 192.168.1.254
192.168.1.253 | 255.255.255.0 | 192.168.1.254 | LGATE-950-NC | n/a | n/a | 17001 |  | LOYTEC electronics GmbH | LGATE-950
192.168.1.254 | 255.255.255.0 | 192.168.1.254 | BT Broadband Router | n/a | n/a | n/a | Room G8 (UPS Room) | BT | BTHUB3